Guidelines for Good Practice for

Gas Balancing (GGPGB)

An ERGEG Public Consultation Paper

E06-GFG-17-04

20 April 2006

Table of Contents

Scope and objective	3

1.	Required characteristics of a balancing regime	4

	Balancing period	4

	Imbalance charges	6

	Penalty Charges	6

	Trading and pooling of imbalance positions	7

	Tolerance Levels and Tolerance Services	7

	Market information and transparency of balancing arrangements	7

	Balancing costs and incentives for the TSO	8

	Harmonisation of balancing rules	9

	Consultation	9

2.	Role and Responsibilities of ‘relevant regulatory authority’	10

3.	Role and Responsibilities of TSOs	10

4.	Role and Responsibility of network users	11

5.	Confidentiality requirements	11

6.	Invitation to Interested Parties to Comment	11

7.	Changes to these guidelines	12

Annex 1: Definitions	13

Annex 2: Market information and transparency of balancing arrangements	14

Annex 2: Market information and transparency of balancing arrangements	14

# Scope and objective

The recently adopted Gas Regulation on conditions for access to natural gas transmission networks includes Articles in relation to gas balancing and imbalance charges.  These specify high level requirements for gas balancing regimes including for example the need to ensure that rules are fair and non-discriminatory guidelines.

The GGPGB represents ERGEG’s advice to the European Commission on its interpretation of Article 7 of the Gas Regulation. The purpose of the GGPGB is to provide more detailed guidance to both Transmission System Operators (TSOs) and the relevant regulatory authority in the design of gas balancing mechanisms.  This is to help ensure that the mechanisms maintain the safe, efficient and reliable operation of the network and that the rules are designed and applied in a fair, non-discriminatory and transparent manner and are based on objective market criteria.

Ultimately, Europe needs to converge on a market based balancing regime [this is the only way to foster the development of a competitive and liquid wholesale gas market across borders]

The GGPGB is not legally binding and no requirement can be made under the GGPGB that contravenes national or European legislation.  They are designed to be consistent with and to support the existing requirements in the Gas Regulation.

In the event that any party believes that there is a conflict between the requirements of the GGPGB and any national or European legislation that will materially effect either its interests or its ability to comply with the GGPGB, it will without any unreasonable delay notify the relevant regulatory authority, specifying in detail the exact nature and extent of the conflict. This notification will be made public unless the relevant regulatory authority is satisfied on the basis of objective justification provided to it, that to do so would unacceptably infringe on commercial confidentiality.

The GGPGB apply to the relevant national regulatory authority and/or the authority to which the Member State has delegated the responsibility for designing and/or operating the balancing rules.  The GGPGB also apply to TSOs and network users. Where Member States have established one or more entities or bodies set up in compliance with Directive 2003/55/EC for the purpose of carrying out one or more functions typically attributed to a TSO with regard to balancing the GGPGB shall likewise apply to these entities or bodies.

Subject to compatibility with national requirements, all bodies to which these guidelines apply shall be in compliance by 1 January 2007 unless another date is specified.  Where implementation by 1 January 2007 is not achievable the TSO will make public the fact and notify the relevant regulatory authority and will pursue implementation at the earliest possible date, but in any event not later than 1 July 2007.

# Required characteristics of a balancing regime

[EFET strongly advocates putting in place a daily gas balancing market so that TSOs purchase balancing services through market bids and offers from market participants. Market participants out of balance will then be charged an imbalance, or cashout price that is based on market forces and is not set administratively. Until market based balancing is implemented, a compromise may be to ensure that the cashout prices are set according to actual costs incurred by TSOs in balancing the system. These costs must be monitored and audited by regulatory authorities so as to ensure they have been efficiently incurred and that they do not contain undue or unjustified penalties over and above the cost of balancing faced by the TSO.

The comments in this section are essential to allow the transition from regulated to market based balancing mechanisms while recognising that in the transition to market based balancing some regulatory intervention and cost based prices may be necessary. However EFET does not supports non market based balancing mechanisms].

1.1	As provided for in Article 25.2.b of the Directive 2003/55/EC of the 26 June 2003, “the regulatory authorities shall be responsible for fixing or approving prior to their entry into force, at least the methodologies used to calculate or establish the terms and conditions for … the provision of balancing services”.

1.2	Balancing rules shall be fair, non-discriminatory and transparent and shall be based on objective market based criteria. Balancing rules shall reflect genuine system and market needs taking into account the resources available to the TSO and to the network user.

1.3	The development of balancing rules should be subject to appropriate consultation with market participants and decisions should be supported by objective market criteria and analysis.

1.4	Where balancing rules (including rules relating to imbalance charges) are implemented by the TSO they should be equally applied to its own commercial operations and related undertakings, where part of a vertically integrated company, as to third parties.

1.5	The balancing rules should be designed to minimise the residual physical balancing role of the TSO subject to the safe and economic operation of the network and other relevant requirements specified in section 3 hereunder.

## Balancing period

1.6	The balancing system should be based on balancing periods characterised by a settlement procedure at the end of the balancing period. The choice of an appropriate balancing period needs to be based on an assessment against a number of objective market criteria. These should include:

- The operational capabilities of the transportation system to balance the system;

- The flexibility and balancing tools (including contractual tools) (i.e. not only the assets a TSO has but also the contractual possibilities it has, e.g. to purchase storage) that are elaborated by the TSO and offered to market participants and vice versa.;

- The fact that consumers’ daily off-take profile has a recurrent pattern

- The interaction of balancing period with effective commercial incentives to balance, [We are dealing with the gas market, not the power market, or the fertiliser market…].;

- The interaction with balancing periods in connected gas systems to ensure that no undue barriers to cross border trade are created;

- Availability and accuracy of the information over the relevant period that is made available to network users concerning their imbalance position allowing them to take timely balancing corrective actions;

- The costs imposed to TSOs and network users by particular balancing regimes, for example the IT costs of providing more regular information flows over shorter balancing periods and the transaction costs incurred by network users from potentially taking more frequent balancing actions; and

- Nomination and re-nomination procedures complementary to the balancing period [for consistency with rest of text] of balance.

- The barrier to entry on the market created by a short balancing period

- The readiness of the market to trade products of a shorter duration, enabling market participants to take corrective actions

1.7	Where a balancing period is used, daily is preferred  and unless there are explicitly justified technical/operational reasons that mean that hourly balancing is necessary to ensure that the system can be balanced. If the reasons are based on  safety and security issues, TSOs must prove that daily balancing do create safety and security issues. [burden of proof must lie with the TSO, simple claim not sufficient]  Whatever arrangements are put in place they should not create any undue barriers to entry - particularly for new (and smaller) market entrants.

1.8	As an alternative or in addition to balancing systems based on a balancing period, the TSOs  can require that the cumulated imbalance for a network user must be kept by the network user within specified tolerance levels, in which case no settlement procedure is needed within those tolerances. A combination of both approaches is also possible.

1.9	It is important that network users are not exposed to undue risks that they cannot manage effectively and/or without incurring inefficient costs that could create barriers to entry to the market.  Therefore market participants should have access to appropriate information, adequate re-nomination procedures and flexibility tools/services so that they can manage their imbalance positions (and therefore risk) efficiently,  appropriate for the relevant characteristics of the balancing system, in particular the balancing period and/or the width of the tolerance margins.

## Imbalance charges

1.10	The tariffs for tolerance services or imbalance charges include all charges due by the network user in the cases where his imbalance remains within the specified tolerance levels. Imbalance charges shall be based on efficiently incurred costs [costs must correspond to the costs the TSO actually incurs for its balancing service provision and additional penalty charges cannot be justified as these are not cost reflective] cost reflective to the extent possible, whilst providing appropriate incentives on network users to balance their input and offtake of gas..

1.11	They shall be fair and non-discriminatory and based on objective market criteria. They shall avoid cross-subsidisation between network users and shall not hamper the entry of new market entrants.

1.12	Any calculation methodology for imbalance charges as well as final tariffs shall be made public by either the relevant authority or the TSO as appropriate. It shall be approved by the national regulatory authority. [There should be no possibility for the TSO to change the methodology one-sided without approval of the regulator)

1.13	There should also be accurate targeting of system balancing and operation costs to those participants that caused them to be incurred. Any costs that cannot be targeted should be allocated back to all network users in a non-discriminatory manner.

1.14	Where information flows are a problem TSOs shall use provisional allocations in the calculation of imbalance charges to reduce the risk for network users. The difference with the final allocation should be allocated in line with paragraph 1.13. This should be a temporary measure [The difference between the provisional allocation and the final allocation should be invoiced to the network users which caused the imbalance].

1.15	The time period within which charges are confirmed and the method for calculating provisional allocations should be approved where appropriate by the relevant regulatory authority after proper consultation with the TSO and network users should there be any subsequent changes.

## Penalty Charges

  - Penalty charges should only exist where the balancing system is in transition to a market based balancing regime and must be phased out as soon as possible. [as per the introduction, a market-based balancing regime is the ultimate goal and during a transition period cost based methods may be tolerated provided adequate regulatory controls. Penalty charges are however not justified and must be phased out urgently]

  - TSOs may impose penalty charges on network users whose imbalance between input and offtake from the transmission system exceeds the specified tolerance levels, subject to these charges being in accordance with the terms of 1.1.

  - Penalty charges which exceed the actual balancing costs incurred, insofar as such costs correspond to those of an efficient and structurally comparable network operator and are transparent, shall be taken into account when calculating tariffs in a way that does not reduce the TSOs interest in balancing and shall be approved by the relevant regulatory authority.

1.19 	TSOs should move away from charging penalties and facilitate the existence of a balancing market in replacement. [until a truly liquid balancing market is developed, TSOs should put a system in place which allows the ex-post trading of imbalances, instead of charging network users for imbalances after gate closure]

## Trading and pooling of imbalance positions

1.20	In the absence of a well functioning/liquid within day market, allowing market participants to manage their imbalance positions efficiently, the TSO should have systems in place to facilitate the pooling and trading of imbalance positions prior to settlement (both ex ante and ex post).

## Tolerance Levels and Tolerance Services

1.22	[Redundant with 1.20]

1.23	In the case of non-market based balancing systems, tolerance levels shall be designed in a way that either reflects seasonality or results in a tolerance level higher than that resulting from seasonality, and that reflects the actual technical capabilities of the transmission system. Tolerance levels shall reflect genuine system and market needs taking into account the resources available to the TSO and the network user.

1.24	In respect of tolerance services particular account should be taken of the extent to which tolerances may be utilised by network users to offer “balancing gas” or cause balancing costs to be incurred by the TSO that are subsequently socialised.

## Market information and transparency of balancing arrangements

1.25	Each TSO should implement user-friendly systems to make public, as a minimum, the information relating to the areas specified in Annex 2 in a timely manner in national language and in English on the internet. The level of information published shall be set out by each TSO, based on the balancing regime in place and approved by the relevant regulatory authority in consultation with network users.  Information shall be disclosed in a meaningful, quantitatively clear and easily accessible way and on a non-discriminatory basis taking into account Article 6 and Article 9.1 c) of the Gas Regulation.

1.26	Each TSO shall also make available confidentially to each user its balancing status and other information relating to the areas specified in Annex 2.

1.27	Non-confidential information must be provided promptly and on the same time scale to all users on non-discriminatory bases.  [Deletion made because this is a way to hinder market development. It introduces the potential to abuse the position to avoid disclosure requirements. Publishing aggregate information should never be an issue, as referred to in Annex 2] In any respect, information should always be published by the TSO when three or more users participate in the balancing mechanism in the relevant period.  The TSO shall notify the relevant national regulatory authority, without any unreasonable delay, where it has not published specific data (e.g. for reasons of costs, to avoid any potential market abuse or to avoid significant harm to their commercial interests). The relevant national regulatory authority can require further details from the TSO, including substantiated reasons, for non-publication.

1.28	In addition where they exist, charges for the provision of such information shall be approved by the relevant national regulatory authority and made public by the TSO.

## Balancing costs and incentives for the TSO

[This is very important. Network users need information to be able to forecast their out-of-balance costs and as validation that the TSO is incurring costs efficiently. Information publications requirements include the calculation of imbalance charges, the costs incurred by the balancing provider in balancing the system, aggregate linepack forecasts and confirmation of nominations and scheduling of positions for the purposes of allowing shippers to calculate indicative imbalance positions ahead of final allocations.]

1.29	In relation to balancing costs TSOs should be cost neutral and have the correct incentives to ensure that the costs incurred of taking residual balancing actions are efficiently incurred.  The residual balancing actions of the TSO should be minimised subject to the safe and economic operation of the network.

1.30	Where a TSO’s balancing regime permits the acceptance of bids and offers for the purposes of residual balancing gas as a means to balance the system it should procure flexibility (including gas) in a transparent and non-discriminatory manner using market based mechanisms.  TSOs can also buy storage products or use storage facilities. [This is EFETs preferred way in which balancing should occur – though a transparent and fair market based system]

1.31	Where a TSO is not permitted to accept bids and offers for balancing gas as a means to balance the system the TSO should contract for gas in other ways for example accessing gas from storage or through contracts with network users. But this must only be a solution that is used during the transition to a market based system.

1.32	TSOs balancing costs shall be efficiently incurred and should be charged back to network users on a non-discriminatory basis.

1.33	Information regarding the costs incurred by the TSO for this purpose shall be made publicly available. If the TSO is concerned that doing so would have a negative impact on the commercial position of the market participants, it should notify the relevant national regulatory authority. The relevant national regulatory authority will then decide whether the information should be published or not.

## Harmonisation of balancing rules

1.34	NRAs and TSOs shall endeavour to harmonise balancing regimes at a Pan-European level and streamline structures and levels of balancing charges in order to facilitate trade  between Member States and in particular with regards to:

- Tolerances;

- Imbalance charges;

- Energy units [Essential requirement as trading is done in energy and not volume units]; and

- Balancing periods.

1.35	Where it is justified that balancing regimes remain different between interconnected networks, the TSOs must analyse  in particular:

- the way in which the balancing regimes interact;

- identify key differences and the reasons why they exist;

- the impact of any differences on trade and the incentives provided to network users and TSOs;

- how differences in arrangements for dealing with safety and security will impact on trade, incentives and costs; and

- areas for harmonisation and a timetable for making changes.

1.37	To ensure transparency these agreements shall be published following open consultation with all market participants and approved by the NRA.

## Consultation

1.38	Any changes to balancing rules introduced by the TSO should be subject to appropriate consultation with market participants and decisions should be based on objective market criteria and analysis.

# Role and Responsibilities of ‘relevant regulatory authority’

2.1	Each relevant regulatory authority should ensure that the gas balancing regimes are based on the criteria set out in this GGPGB and the Gas Regulation whether they are directly responsible for the design, fixing or approving of the methodologies used to calculate or establish the terms for the provision of balancing services or for approving proposals developed by the TSO and/or other market participants.

# Role and Responsibilities of TSOs

3.1	Where the TSO has the responsibility to design the gas balancing regime it should ensure that it does in accordance with the requirements in this GGPGB and the Gas Regulation.

3.2 	Each TSO retains the overall responsibility for the economic and efficient operation of its system and therefore should retain a residual role to maintain physical balance to ensure the safe, efficient and reliable operation of its system, subject to the incentives, information and flexibility and tools provided to shippers to balance their individual portfolio.

3.3	When technically and/or economically necessary for providing efficient access to the system, in particular when the balancing regime is characterised by tight tolerance margins or a short balancing period, the TSO should offer based on the available linepack, cost-reflective tolerance services in a way which reflects the actual technical capabilities of the transmission system and facilitates competition.

3.4	TSOs shall provide sufficient, well-timed and reliable on-line based information on the balancing status of network users and line-pack data as indicated in 1.21 to 1.24 and Annex 2. This information must correspond to the balancing period in use.

3.5	[This section causes difficulties because it appears to say that it is acceptable to discriminate. If left in, the commission or the NRA must be able to say ‘no’ to companies claiming there are special conditions (while of course respecting commercial confidentiality) In any event, if de facto such arrangements do exist then there must be publication of the fact of theior existence and their scope so that at least other users are aware of any special rights and obligations that might affect the market.]

# Role and Responsibility of network users

4.1	It shall be the primary responsibility of network users to balance their own inputs and offtakes over the relevant period according to the rules and incentives of the respective balancing regime.

4.2	The network users shall:

- not operate in a manner that restricts, distorts or prevents competition;

- provide all data required by the TSO to enable it to carry out its duties as residual balancer as specified in either the relevant network code or national  regulation; and

- put relevant IT in place in order to be able to communicate with TSOs via agreed interfaces and standards.

  - National incumbents/ the dominant supply participant must participate in the balancing market and offer flexibility to the market.

# Confidentiality requirements

5.1	TSOs should take steps to ensure appropriate arrangements are in place to protect the confidentiality of information, at least including that:

- commercially sensitive information from network users’ accounts remain confidential including from any related undertakings.

- no information available to the TSO concerning the operation of the balancing mechanism shall be passed to other parts of the company in advance of being provided to all market participants; staff working for any affiliate business must have no access to information which could be commercially advantageous, such as details on actual or potential network users, where such information is not made available to all market participants. The arrangements to implement this requirement should include a code of conduct for staff and a compliance programme, supervised by a Compliance Officer.

- In any case the relevant regulatory authority shall be provided full access to information on request in line with national legislation.

# Invitation to Interested Parties to Comment

ERGEG invites all interested parties to respond to this consultation paper on these detailed guidelines on gas balancing.  Any should be received by 20 June 2006 and should be sent by email to GGPGB@ergeg.org.  Unless marked as confidential all responses will be published by placing them on the ERGEG website.  If there is anything confidential it should be included in a separate annex to respondents’ core response document.  Any question to this document should in the first instance be directed to

Mrs. Una Shortall

Email: una.shortall@ceer-eu.org

Fax +32 2 788 73 50

Tel. +32 2 788 73 30

A final version of the Gas Balancing Guidelines will be produced after consideration of the responses to this public consultation.  Once finalised the guidelines will be presented to the European Commission as ERGEG’s formal advice on interpretation of Article 7 of the new Gas Regulation which is due to come into force from June 2006.

# Changes to these guidelines

7.1	These guidelines will be reviewed periodically by CEER/ERGEG and any changes will be consulted upon.  Following consultation, revised guidelines for implementation by stakeholders and relevant authorities will be published and posted on the CEER/ERGEG website.

# Annex 1: Definitions

1.	‘Transmission’ means the transport of natural gas through a network, which mainly contains high pressure pipelines, other than an upstream pipeline network and other than the part of the high pressure pipelines primarily used in the context of local distribution of natural gas, with a view to its delivery to customers, but not including supply.

2.	‘Balancing period’ means the period within which the offtake of an amount of natural gas, expressed in units of energy, must be offset by every network user by means of the injection of the same amount of natural gas into the transmission network in accordance with the transportation contract or the network code. This can be in a specific pipeline, or in a pipeline system, at a hub or in a storage facility.

  - ‘Network user’ means a customer or potential customer of a transmission system operator, and transmission system operators themselves in so far as it is necessary for them to carry out their functions in relation to transmission.

4.	“National Regulatory Authority (NRA)” means the competent body designated by Member States with the function of regulatory authority within that Member State as provided for in Directive 2003/55/EC of the European Parliament and of the Council of 26 June 2003 concerning common rules for the internal market in natural gas.

5.	“Relevant authority” means the body appointed by a member State and/or NRA to be responsible for designing and/or operating the balancing rules for a Member State.

6.	“Member State” means the governments of the countries that belong to the EU.

7.	“Tolerance level” means the level of imbalance, within or at the end of the balancing period, free of charge, either because such tolerance is integrated in the capacity offer, or because the tolerance has been offered and charged separately as a balancing and/or flexibility service.

# Annex 2: Market information and transparency of balancing arrangements

This annex provides a guide to NRAs and TSOs regarding the information relating to balancing that should be made available to individual network users and to the market more generally.  The areas identified in this annex should be seen as a minimum requirement – and it is crucial that all relevant information that is necessary for the efficient and effective operation of the balancing mechanism is made available to users and the market to an appropriate level of detail and frequency.

Information for individual network users

The minimum information that TSOs should make available to network users to enable them to manage their imbalance positions is listed below. Each TSO (following agreement by its relevant regulatory authority) will provide a list to network users of the information that it will make available (including the level and frequency).

Network user specific input and output scheduling calculations and charges

Network user specific energy imbalance and related charges

Network user specific Penalty charges

Individual Forecast demands

Actual demands

Actual and forecast weather information appropriate to the balancing regime

Information for the market

The minimum information that TSOs should make available to the market is listed below. Each TSO (following agreement by its relevant regulatory authority) will publish the list of information that it will make available (including the level and frequency).

Aggregate Forecast demand

Actual demand

Imbalance Pricing information

Standard Balancing Contract information

Aggregate network user imbalance charges

Planned and unplanned interruptions

Linepack Information

- Average daily forecast linepack.

- Linepack operating envelopes.

- Forecast and actual limepack and real time updates.

The market will also need complementary documents to be placed in the public domain

to provide sufficient confidence that the TSO is operating as expected, such as:

-  Linepack Calculation Methodology [ an objective methodology to be published that details

how the TSO calculates linepack levels].

-  Procurement Guidelines Statement  [The methodology by which the TSO will use to procure  
      its balancing and constraint management tools and ensure the costs are efficiently incurred].

-  System Management/Balancing Principles Statement [ Identifying the range of balancing 
      tools that the TSO has at its disposal and the hierarchy/methodology it will use to deploy 
      those tools for typical balancing scenarios].

# Footnotes

Regulation (EC) No 1775/2005 of the European Parliament and of the Council of 28 September 2005 on conditions for access to the natural gas transmission networks.

Regulation (EC) No 1775/2005 of the European Parliament and of the Council of 28 September 2005 on conditions for access to the natural gas transmission networks.

Article 1.2 Gas Regulation.

Regulation (EC) No 1775/2005 of the European Parliament and of the Council of 28 September 2005 on conditions for access to the natural gas transmission networks.

In some Member States balancing rules are specified in national legislation and therefore not subject to ‘consultation’ with market participants.