# Annex to

Malta’s Annual report to the European Commission regarding the implementation of Directive 2003/54/EC and 2003/55/EC

Table 3.1.1 – Electricity Market Opening

| Year | Threshold GWh/year | % Market Open |
| --- | --- | --- |
| 1995 | N/A | 0 |
| 1997 | N/A | 0 |
| 1999 | N/A | 0 |
| 2001 | N/A | 0 |
| 2003 | N/A | 0 |
| 2005 | N/A | 0 |
| 2007 | N/A | 0 |

Table 3.1.3 Regulation of network companies.

|  | Number of regulated Companies | Approx network access charge (Euro/MWh) | Interruptions minutes lost per customer per year |
| --- | --- | --- | --- |
|  |  | Ig | Ib | Dc |  |
| Transmission | 0 | N/A | N/A | N/A | N/A |
| Distribution | 1 | N/A | N/A | N/A | 556 |

Table 3.1.3a Continuity of Supply Indicators

| Type | CAIDI | SAIFI | SAIDI | KVAh Lost | Normalized Lost KVAh | TIEPI |
| --- | --- | --- | --- | --- | --- | --- |
| Overall | 1.71 | 541 | 9.27 | 10,253,805 | 0.001058048 | 0.01175 |
| Fault | 2.08 | 230 | 4.77 | 5,282,550 | 0.000545085 | 0.00670 |
| Shedding | 1.40 | 239 | 3.34 | 3,693,910 | 0.000381159 | 0.00352 |
| Switching | 0.16 | 25 | 0.04 | 44,559 | 0.000004598 | 0.00006 |
| Works | 2.36 | 47 | 1.11 | 1,232,786 | 0.000127206 | 0.00148 |

Table 3.1.4 Summary information on unbundling

|  | Transmission | Distribution |
| --- | --- | --- |
| Separate Headquarters (Y/N) | N/A | N |
| Separate corporate presentation (Y/N) | N/A | N |
| Unbundled regulatory accounts with guidelines (Y/N) | N/A | In process |
| Audit of unbundled accounts (Y/N) | N/A | N |
| Publication of unbundled accounts (Y/N) | N/A | N |
| Separate board of Directors without Directors from other group companies? (Y/N) | N/A | N |

Table 3.2.1 Development of wholesale market

| Year | Demand | Installed capacity (GW) | No. of companies with >5% generation | Share of largest three generation companies | HHI (where available) |
| --- | --- | --- | --- | --- | --- |
|  | Total (TWh) | Peak (GW) |  |  |  | All plant, by capacity | All plant, by volume |
| 2001 | N/A | N/A | N/A | N/A | N/A | N/A | N/A |
| 2002 | N/A | N/A | N/A | N/A | N/A | N/A | N/A |
| 2003 | N/A | N/A | N/A | N/A | N/A | N/A | N/A |
| 2004 | N/A | N/A | N/A | N/A | N/A | N/A | N/A |

Table 3.2.1a – Volume of electricity traded (TWh)

|  | Total consumption | traded in spot PX market | traded in forward PX market | bilateral OTC trading |
| --- | --- | --- | --- | --- |
| 2002 | N/A | N/A | N/A | N/A |
| 2003 | N/A | N/A | N/A | N/A |
| 2004 | N/A | N/A | N/A | N/A |

Table 3.2.2 Development of the retail market

| Year | Total consumption (TWh) | No. of companies with >5% retail market | Number of fully independent suppliers (1) | Market share of three largest companies | Cumulative % customers having changed suppler (by volume) |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  | large and very large industrial | small-medium industrial and business | very small business and household | large and very large industrial | small-medium industrial and business | very small business and household |
| 2001 | 1.988 | 1 | 0 | 100% | 100% | 100% | 0% | 0% | 0% |
| 2002 | 2.057 | 1 | 0 | 100% | 100% | 100% | 0% | 0% | 0% |
| 2003 | 2.236 | 1 | 0 | 100% | 100% | 100% | 0% | 0% | 0% |
| 2004 | 2.216 | 1 | 0 | 100% | 100% | 100% | 0% | 0% | 0% |

Table 3.2.2a 	Approximate breakdown of retail price levels

| Eurostat Customer Definition | Dc €/MWh | Ib €/MWh | Ig €/MWh |
| --- | --- | --- | --- |
| Network charges (excl. levies |  |  |  |
| Levies included in network charges |  |  |  |
| Energy costs and supply margin | 75 | 103.57 | 59.78 |
| Taxes and excise duty | 4 | 5.43 | 3.21 |
| Total (including all taxes) | 79 | 109 | 63 |

Table 4.1.1 Gas Market Opening

| Year | Threshold GWh/year | % Market Open |
| --- | --- | --- |
| 1995 | N/A | N/A |
| 1997 | N/A | N/A |
| 1999 | N/A | N/A |
| 2001 | N/A | N/A |
| 2003 | N/A | N/A |
| 2005 | N/A | N/A |
| 2007 | N/A | N/A |

Table 4.1.3 Regulation of Network Companies

|  | Number of regulated companies | Approx network access charge Euro/cubic metre | Interruptions minutes lost per customer per year |
| --- | --- | --- | --- |
|  |  | I4 | I1 | D3 |  |
| Transmission | N/A | N/A | N/A | N/A | N/A |
| Distribution | N/A | N/A | N/A | N/A | N/A |

Table 4.1.4 Summary information of unbundling (Gas)

|  | Transmission | Distribution |
| --- | --- | --- |
| Separate Headquarters (Y/N) | N/A | N/A |
| Separate corporate presentation (Y/N) | N/A | N/A |
| Unbundled regulatory accounts with guidelines (Y/N) | N/A | N/A |
| Audit of unbundled accounts (Y/N) | N/A | N/A |
| Publication of unbundled accounts (Y/N) | N/A | N/A |
| Separate board of Directors without Directors from other group companies? (Y/N) | N/A | N/A |

Table 4.2.1 Development of wholesale market

| Year | Demand | Production (bcm) | Import capacity (bcm/year) | No. of companies with >5% production and import capacity | No. of companies with >5% available gas | Share of largest three gas wholesalers |
| --- | --- | --- | --- | --- | --- | --- |
|  | Total (bcm) | Peak (bcm/year) |  | total | reserved transit | reserved other LT | unreserved |  |  |  |
| 2001 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A |
| 2002 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A |
| 2003 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A |
| 2004 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A |

Table 4.2.1a Volume of Gas Traded (bcm)

| Year | Total consumption | traded in spot hub market | traded in forward hub market | bilateral OTC trading |
| --- | --- | --- | --- | --- |
| 2002 | N/A | N/A | N/A | N/A |
| 2003 | N/A | N/A | N/A | N/A |
| 2004 | N/A | N/A | N/A | N/A |

Table 4.2.2 Development of Retail Market

| Year | Total consumption (bcm) | No. of companies with >5% retail market | Number of fully independent suppliers (1) | Market share of three largest companies | Cumulative % customers having changed supplier (by volume) |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  | power plants | large and very large industrial | small-medium industrial and business | very small business and household | power plants | large and very large industrial | small-medium industrial and business | very small business and household |
| 2001 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A |
| 2002 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A |
| 2003 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A |

Table 4.2.2a Breakdown of current prevailing Price Levels

|  | I4 | I1 | D3 |
| --- | --- | --- | --- |
| Network charges (excl. levies) | N/A | N/A | N/A |
| Levies included in network charges | N/A | N/A | N/A |
| Energy costs and supply margin | N/A | N/A | N/A |
| Taxes | N/A | N/A | N/A |
| Total (including all taxes) | N/A | N/A | N/A |

Table 5.1.1 – Installed nominal capacity per technology

| Technology | Installed Nominal Capacity (MW) |
| --- | --- |
| Steam Turbine | 350 |
| Open Cycle Gas Turbine | 111 |
| Combined Cycle Gas Turbine | 110 |
| Total | 571 |

Table 5.1.2 Security of Supply evolution

| Year | Peak electricity demand (GW) | Available capacity (GW) | Forthcoming new plant (GW) | Plant completed minus plant closed in the year (GW) |
| --- | --- | --- | --- | --- |
|  |  |  | Authorised | Under construction | coal and oil | gas | RES | CHP | nuclear |
| 2000 |  |  |  |  | 0 | 0 | 0 | 0 | 0 |
| 2001 |  |  |  |  | 0 | 0 | 0 | 0 | 0 |
| 2002 |  |  |  |  | 0 | 0 | 0 | 0 | 0 |
| 2003 |  |  |  |  | 0 | 0 | 0 | 0 | 0 |
| 2004 |  |  |  |  | 0 | 0 | 0 | 0 | 0 |
| 2005 | 402 | 571 | 0 | 0 |  |
| 2006 est | 445 | 571 | 0 | 0 |  |
| 2008 est | 470 | 571 | 0 | 0 |  |
| 2010 est | 480 | 571 | 0 | 0 |  |

Table 5.2 Security of Gas Evolution

|  | Total gas demand (bcm) | Production capacity (bcm) | Pipeline import capacity (bcm) | LNG import capacity (bcm) | Forthcoming new capacity (bcm) |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | authorised | under construction |
| 2000 | N/A | N/A | N/A | N/A | N/A | N/A |
| 2005 | N/A | N/A | N/A | N/A | N/A | N/A |
| 2006 est | N/A | N/A | N/A | N/A | N/A | N/A |
| 2008 est | N/A | N/A | N/A | N/A | N/A | N/A |
| 2010 est | N/A | N/A | N/A | N/A | N/A | N/A |

Table 6 Regulation of end-user prices

|  | Electricity | Gas |
| --- | --- | --- |
|  | large and very large | medium industrial and commercial | small commercial and household | power plants | large and very large | medium industrial and commercial | small commercial and household |
| Existence of regulated tariff (Y/N) | Y | Y | Y | N/A | N/A | N/A | N/A |
| % customers still on tariff | 100% | 100% | 100% | N/A | N/A | N/A | N/A |
| possibility to switch back to regulated tariff (Y/N) | N/A | N/A | N/A | N/A | N/A | N/A | N/A |
| Number of suppliers covered by the obligation to supply at tariff (could be all suppliers) | 100% | 100% | 100% | N/A | N/A | N/A | N/A |